## Sheet1
work_category_id | category_name | category_item | category_description | date | work_status_id | work_photo_pah_1 | work_photo_pah_2 | work_photo_pah_3
1 | plumbing | Faucets, tubs and shower heads | Turn water on, look under cabinets at shut offs and drains for leaks
2 | plumbing | Main visible drain pipes | Inspect visible pipes for leaks. Locate clean outs for future use
3 | plumbing | Toilets | Check for stability and leaks. Look inside for rings, quick clean flush
4 | plumbing | Water Heater | Visually inspect water heater and ensure no leaks or malfunctions
5 | plumbing | Pool Equipment | Visually inspect pool equipment and turn heater on to ensure everything functions properly
6 | interior | Wood cabinets and trim | Look for cracks from settlement and shrinkage
7 | interior | Interior doors | Lubricate hinges as needed
8 | interior | Garage door | Lubricate hardware. Replace battery on keypad as needed
9 | interior | Paint | Check for shrinkage in crown, base, casings and window sills. Keep a list for yearly
10 | interior | Ceiling penetrations | Look around can light, speakers, and bath fan penetrations for signs of mold
11 | interior | Window and door tracks | Check to see if sweep holes are open. Clean out dirt and dust
12 | interior | Elevator | Use elevator to make sure it is working. Check phone line inside cab. Light bulb replacement
13 | interior | Tile floors, walls, showers | Check for cracks in grout. Keep a list for yearly
14 | interior | A/C system – Partial Care | Check thermostats. Check filters. Check copper lines and pan for condensation
15 | electrical and appliances | Heating and cooling systems | Clean and replace filters if necessary. Check thermostats to be set and working correctly
16 | electrical and appliances | Washer/Dryer | If vented through the roof clean out the screens. Check for blockage. Check for leaks
17 | electrical and appliances | Refrigerator/Ice makers | Open door and make sure they are working correctly and not leaking and run ice maker
18 | electrical and appliances | Dishwasher | Look at shut offs for leaks, mildew or mold, run dishwasher
19 | electrical and appliances | Sub Panel | Open panels and make sure no breakers are tripped
20 | electrical and appliances | Smoke detector | Test for proper operation and replace batteries if necessary
21 | electrical and appliances | Garbage Disposals | Clean blades by grinding ice. Freshen up by grinding citrus rinds and baking soda
22 | electrical and appliances | GFI outlets | Test for proper operation
23 | exterior | Foundation | Inspect visible areas, vents, and ducts for cracks, leaks, or blockages
24 | exterior | Landscaping/Irrigation | Check for signs of broken sprinkler heads. Look for proper drainage and erosion
25 | exterior | Paint – Partial Care | Check for gaps around windows and doors. Keep a list for yearly
26 | exterior | Exterior decks/Shellcrete, tile | Rinse off. If shellcrete or natural stone it needs sealed once a year
27 | exterior | Outdoor Kitchen Area | Check for cracks in stone and make note of any oxidization and rust
28 | exterior | Gates | Check for dragging or obstructions on track. Lube once a year
29 | exterior | Pest Control | Look for types of bugs, make note for owner, and/or call Pest Control to spray
30 | exterior | Roofs – Inspection | Check valleys to be clear, water can move freely. Clear roof as needed with leaf blower, broom
31 | exterior | Windows and doors | Look for leaks, torn weather strips, operate windows and door locks
32 | exterior | Gutters and downspouts | Visually check once a month, clear gutters yearly if recommended
| Home | Maintenance | Work Status
| (add, update) | (upadate) | add, update)
|  |  |  | Home | dropdown - street + citi